The adapted Tknika

4. ACTIVITY

Using the Calibrate Tool for Millimeter Measurements

In this activity, an artificial vision system will be calibrated to measure in millimeters. A high calibration will be performed and then the width of a part will be measured using the FindSegment tool. The process will provide highly accurate results and demonstrate the reliability of the visual system.

- Introduction

In machine vision systems, digital images are measured in pixel units. However, in many industrial applications it is necessary to perform measurements in physical units (mm). This activity will use  the CalibrateGrid and Calibrateimage tools  to calibrate an image and make measurements in millimeters. Finally,  the FindSegment tool  will measure the width of a part.

- Objective

Through this activity, the following competencies will be developed:

- Calibrate an image using a reference pattern

- Conversion of pixel units in millimeters

- Technical mastery of Calibrate instruments

- Accurately measuring the physical dimensions of a part

- METHODOLOGY

  - Imaging

As we have seen so far, the process of 1st activity must always be carried out to have an adequate image. The measurement of the image used in this case is known (in mm) (a ruler, a caliber...).

In this case, we will use an upholstery that gives the camera and gives better results, by using many calibration points that allow us to compensate for connectivity errors of the camera lens.

  - Programming the CALIBRATE tool

We choose the tool in the tool shovel and drag it into a cell in the spreadsheet. As seen in this image, we need the CalibrateGrid tool to calibrate the image from a tablet pattern (tapestry) and the parameterization screen (which automatically appears when you paste the instrument into the spreadsheet) is as follows:

The first parameter to adjust is the area in which it is to be measured. To do this, on the configuration screen of the CalibrateGrid tool, we will select the "pose" option and click on the "adjust region" icon. In this image you can see the adjusted region:

The tool calibrates all points of the quadrangle network. The result can be seen in this image:

By clicking on the "Calibrate" option, the system will let us know the necessary settings and the result of the process. In our case, everything has developed correctly.

  - Imaging and Conversion to mm

Remove the alpiz, put the piece to measure and take the image according to the usual method. The image taken is located in the pixels (saved in cell A0).

To facilitate subsequent measurements, we must convert the image in the pixels to millimeters. We'll do this with the CalibrateImage tool.

As always, we select it from the instrument shovel and drag it into a spreadsheet room.

To qualify for the CalibrateImage device, you only have to indicate the image to be calibrated (the A0 gelaxka) and the type of calibration (room A2). From that moment on, the result of all the tools we apply to the image of cell A4 will be in mm.

  - Measuring Key Metrics

To measure the key metric,  we'll use the FindSegment vision tool. This instrument looks for a uniform segment of color in the preset area and gives us the measurement of the width of this segment.

The tool, after selecting and dragging a cell from the spreadsheet (A6), asks us for the parameters that appear in the previous image. On the one hand, we work with the image of cell A4 (pre-eleved), instead of the image obtained by the camera (A0). In our case, the color of the segment is white (the mouth of the key is seen in the white image over the black surrounding the key).

If the process has been successful, the key metric (distance – B6) will appear. In our case, 6. it is a metric key.

  - Conclusions

- Calibrate instruments allow pixel images to be converted into physical units, which is essential in industrial applications.

- Proper calibration requires a reliable network and specific parameters.

- The findSegment has an exact ability to measure the width of a segment in calibrated images.

- The results obtained in the activity confirm the reliability and availability of the system (6,043 mm).