The adapted Tknika

8. ACTIVITY

MANAGEMENT OF THE PLC VISUALIZATION PROCESS VIA A COMMUNICATION CARD (PROFINET)

In this activity, a PLC will send scaling criteria to the Cognex chamber via PROFINET, and the chamber will count blueberries of a certain size. The result will return to the PLC, where it will be displayed. The communication will be carried out through the CP343-1 communication card, and the exchange of data will be bidirectional.

- Introduction

In automated industry, communication between machine vision and a PLC is critical for the development of intelligent processes. In this activity, a PLC will send criteria based on the size of the blueberries to the Cognex chamber through PROFINET, and the chamber will count the number of blueberries, returning the result to the PLC. The communication will be made through the CP343-1 communication card.

- Objective

Through this activity, the following competencies will be developed:

- Sending PLC Data to the Cognex Camera by PROFINET

- The cameras calculate the number of pads and return the result to the PLC

- Choose the size of Arandel via the PLC inputs

- Establishing reliable communication between camera and PLC

- METHODOLOGY

  - Imaging

The process carried out in activity 1 must always be carried out to have an adequate image. The objective of this case is to quantify the slits of a given size. From the car we will send this information to the camera and the camera will return the total number of rein and the number of reins selected.

  - Camera Programming

In classroom A3 we will program a pattern training tool (TrainPatMaxPattern). All we have to do is define the region that a circumstance is going to occupy. We have chosen what appears in the image.

We'll program a tool to find the pattern in cell A6 (FindpatMaxPattern). This tool searches for all images similar to the previously trained pattern. We only have to program two of its parameters; On the one hand, we define the search field (the entire field of view) and, on the other hand, we mark the minimum and maximum value of the scale (30 and 110) so that it finds all the bypasses, regardless of their size. Be careful, don't forget to tell the search tool which pattern to look for (in our case, gelaxka A3).

As seen in the image, the system has found 8 swans.

  - Programming to send data from the camera to PLC

We'll use the GetNfound function  to count the number of surgeons viewed. That value will be sent to autism.

Next,  we'll use the FormatOutputBuffer function  to configure the type of data we need to send.

We will send the data that is in cell A18, a data that will take one byte (we have defined it as a complete number of 8 bit).

Finally,  we will program the WriteprofinetBuffer function  (Room A22). This function sends the data via profinet.

The transmission will take place with the A0 event (when taking the photo) and the data saved in room A20 will be sent. The number 1 in cell A22 indicates that the shipment was successful; otherwise, an error would appear.

  - PLC Data Collection Programming

The PLC will be configured as in the previous activity.

In this case, with a communication card, we will integrate the network through the PNIO port of the CP and, later, the camera.

To facilitate communication management, it is necessary to modify the input and output directions that the system assigns to the camera in advance. It is convenient that they are successive and start at zero.

Now we are going to make the program of automatism. For the time being, it will only receive the data sent by the camera and we will see it in the output of AB0.

  - Programming of sending data from the PLC to the camera

Data will be  collected based on FC12-PNIO_RECV. We have to program some parameters:

• CPLADDR. 
      Address CP in sixteen.• LEN. Number of bytes we receive. The first 9 are information of the system, so the data we want to receive will take the tenth byte. The 10 bytes we receive are stored in the input memory of PLC 20. From the byt.• OTHER PARAMETERS. We must save the addresses from the system's brand memory to handle errors in the communication process.

In segment 2, we will move the collected data to the exit address AB0.

The information we want to send to the camera will help us distinguish the size of the slits. To do this, we will send you 2 pieces of data (Byte A24, Byte A25), which the camera will consider as minimum and maximum values.

According to the inputs of the PLC (EB0), we will choose the minimum scale and maximum values that we will send to the camera to run the ataza.

1. E0.0: will look for all the circumstance.2. E0.1: Look for the largest circumscriptions.3. E0.2: medium-sized chirinillas.4. E0.3: medium-sized chirinillas, smaller than the previous ones.5. E0.4. Small cirrínandola.

  - Camera Programming

To receive the data sent from the PLC, we need to define the format. To do this, we will use the FormatInputBuffer function (Room A24).

In this case, we will receive 2 full 8-bit numbers.

Once the data format is configured,  we will program the ReadProfinetBuffer reader function  (Room A27). The instrument only needs 2 parameters to set it up, the fact (A0 = image) and the buffer (A24 = data format).

As we can see in the image, we have received two values (120,125) that are stored in cells C27 and C28.

It is to join the 2 values that we want to use for pattern search and search scaling.

We have made a change to the search tool for the previously configured pattern. Specifically, the initial and final values of the scale, which were previously set manually, are now related to the C27 and C28 gelaxtas, respectively, and there are the data sent from the PLC device.

The following image would be the result of the surgeon search process. Once the image is taken, the camera reads the information sent to it by the PLC (search for medium-sized surgeries, scale values: 75-85). Subsequently, look for the slots and find 4. To finish the process, you have to send that information to the PLC (we can see it in the byt).

  - Conclusions

- PROFINET communication allows the control and parameterization of vision systems via a PLC.

- The camera can dynamically adapt its search tools based on the parameters received.

- An automatic count has been obtained based on the size of the bypasses, controlled by the PLC inputs.

- This activity shows an advanced integration between machine vision and industrial automation.